**Fitting for 2 synchronously opening glass doors up to 100 kg (220 lbs.), with surface mounted**

**running track. Wall mounting.**

**Product-Highlights**

**Flexibility**

Standard applications can be extended with the Synchro option

**Comfort**

Two simultaneously sliding doors make large, fully accessible

openings possible

**Technical guidelines** Max. Door weight

Door thickness

Max. Door height Max. Door width Max. Opening width Height adjustable Soft close

Door material

Finish color of visible profiles

100 kg (220 lbs.)

30 mm (1 3/16'')

(5.9–10 mm (7/32'' to 13/32''))

2750 mm (9' 9/32'')

1200 mm (3' 11 1/4'')

2300 mm (7' 6 9/16'')

+/- 3 mm (1/8'') No

Alu Glass Wood Mix Aluminum anodized

**System options**

Wall mounting

Ceiling mounting Top-running

Yes

Yes Yes

**Application area**

Utilization light / semi-public access

Utilization medium / semi-public access Utilization high / public access

Yes

Yes Yes

**Tests** Building hardware – Hardware for sliding doors and folding doors according to EN 1527 / 1998

* Duration of functionality: Class 6 (highest class = 100,000 cycles)cles)

Hardware for furniture – Roller fittings for sliding doors according to DIN 68859

* Overload test
* Function test

**Warranty** With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

**Product Design** Hawa Divido 100 GR Synchro consisting of running track (aluminum), clip-on panel, running gear with ball bearing rollers and running gear support. Kevlar cord with deflection rollers, aluminum glass frame profile, stopper with retention spring, bottom guide.

Optional:

(….) Clip-on component for wooden and aluminum panel (….) Frame bars

(….) Frame profile with vertical handle (….) Wall compensation profile

# Interfaces Door leaf

* Screw fixed running gear support
* Profiles cut at right angles and screw fixed