

**Fitting for 2 synchronously opening wooden doors up to 100 kg (220 lbs.), with surface mounted running track. Wall or ceiling mounting.**

**Product-Highlights**

**Flexibility**

Standard applications can be extended with the Synchro option

**Productivity** Easy installation of the accessories

**Technical guidelines** Max. Door weight

Door thickness Max. Door height Max. Door width Max. Opening width Height adjustable Soft close

Door material

Finish color of visible profiles

100 kg (220 lbs.)

28–30 mm (1 3/32'' to 1 3/16'')

2400 mm (7' 10 7/16'')

1200 mm (3' 11 1/4'')

2300 mm (7' 6 9/16'')

+1 / -3 mm (+1/32'' / -1/8'')

No Wood

Aluminum anodized

**System options**

Wall mounting

Ceiling mounting Top-running

Yes

Yes Yes

**Application area**

Utilization light / semi-public access

Utilization medium / semi-public access Utilization high / public access

Yes

Yes Yes

**Tests** Building hardware – Hardware for sliding doors and folding doors according to EN 1527 / 1998

* Duration of functionality: Class 6 (highest class = 100,000 cycles)

Hardwarefor furniture – Roller fittings for sliding doorsaccordni g to DIN 68859

* Overload test
* Function test

**Warranty** With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

**Product Design** Hawa Divido 100 H Synchro consisting of running track (aluminum), clip-on panel, running gear with ball bearing rollers, support flange, Kevlar cord with deflection rollers, stopper with retention spring, bottom guide.

Optional:

(….) Clip-on component for wooden and aluminum panel (….) Hawa Porta 100 soft and self closing mechanism (….) Cover cap for assembly opening

(….) Bottom guide set for wall mounting with roller (….) Wall compensation profile

# Interfaces Door leaf

* Screw fixing of the support flange

– Guide groove (H × W) 16 × 12 mm (5/8'' × 15/32'')