**Fitting for top-running wooden doors up to 100 kg (220 lbs.), with surface mounted running track or running track flush with the ceiling. Sound attenuation. Ceiling mounting. Wall pocket solution.**

**Product-Highlights Comfort** Outstanding living comfort thanks to effective exclusion of sound,

drafts, odors and unwanted light incidence

**Productivity** Easy height adjustment via both suspensions and convenient depth adjustment of the installed door in the wall pocket

**Technical guidelines** Max. Door weight 100 kg (220 lbs.)

Door thickness 44–50 mm (1 23/32'' to 1 31/32'')

Max. Door height 2500 mm (8' 2 7/16'')

Door width 800–1300 mm (2' 7 1/2'' to 4' 3 3/16'')

Opening width (LMB) 750–1250 mm (2' 5 17/32'' to 4' 1 7/32'')

Height adjustable +/- 2 mm (3/32'')

Soft close No

Door material Wood

Finish color of visible profiles Aluminum anodized

**System options** Ceiling mounting Yes

Ceiling mounting recessed Yes

Top-running Yes

**Application area** Utilization light / semi-public access Yes

Utilization medium / semi-public access Yes

Utilization high / public access Yes


# Tests

**Warranty**

**Product Design**

Building hardware – Hardware for sliding doors and folding doors according to EN 1527 / 2020

– Duration of functionality: Class 6 (highest class = 100,000 cycles)

With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

Hawa Junior 100 B Pocket Acoustics consisting of running track (aluminum wall thickness

2.9 mm (1/8")), running gear with ball bearing rollers (200'000 cycles tested), SoftStop, suspension profile with suspension carriage, horizontal seal set, vertical seal

Optional:

( ) Set for installable and removable running track

( ) Top track fastening for removable top track

( ) Spring loaded buffer

# Interfaces Door leaf

* Suspension profile and sealing groove, top (H × W) 30 × 31 mm (1 3/16'' × 1 7/32'')
* Guide and sealing groove, bottom (H × W) 30 × 23 mm (1 3/16'' × 29/32'')
* Screw fixing of the suspension profiles and horizontal seals
* Groove for seal, vertical 4 x 4 mm (5/32'' × 5/32'')

# Vertical seal level

* Leading surface for vertical seal must be provided by the customer

(min. 6 mm (1/4'') distance from wall structure)

# Gap size to floor

* Air gaps of 8–12 mm (5/16'' to 15/32'') can be taken up by the seal

# Pocket construction

* Pocket construction must be taken care of by the customer

# Assembly set

– The retainer profile is installed during the creation of the pocket construction