# Fitting for top-running wooden doors up to 40 kg (88 lbs.), with surface mounted running track or running track flush with the ceiling. Optionally with soft and self closing mechanism. Wall or ceiling mounting. Minimal installation height.

Product-Highlights Productivity Tool-less door mounting

Aesthetics Minimum installation height - only 1 mm (1/32'') gap between door and running track

Technical guidelines Max. Door weight 40 kg (88 lbs.)

Door thickness 35–80 mm (1 3/8'' to 3 5/32'')

Max. Door height 4000 mm (13' 1 15/32'')

Max. Door width 3000 mm (9' 10 1/8'')

Max. Opening width 2950 mm (9' 8 5/32'')

Height adjustable +/- 3 mm (1/8'')

Soft close Yes

Door material Wood

System options Wall mounting Yes

Ceiling mounting Yes

Ceiling mounting recessed Yes

Top-running Yes

Application area Utilization light / semi-public access Yes

Utilization medium / semi-public access Yes

Utilization high / public access Yes

Tests Building hardware – Hardware for sliding doors and folding doors according to EN 1527 / 2013 – Duration of functionality: Class 6 (highest class = 100,000 cycles)

Hardware for furniture – Strength and durability of slide fittings for sliding doors and roll fronts according to EN 15706 / 2009

Warranty With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

Product Design Hawa Junior 40 B consisting of running track (aluminum wall thickness 2.0 mm (3/32'')), running gear with friction bearing rollers, stopper or soft closing mechanism Hawa SoftMove 40, suspension profile with suspension carriage, bottom guide with zero clearance

Optional:

( ) Guide track, for groove mounting, plastic

(….) Bottom door stopper, with centering part ( ) Wall bottom guide Hawa Confort 120

Interfaces Door leaf

* Recess for suspension profile (H × B) 25 × 20 mm (31/32'' × 25/32'')
* Screw fixing of the suspension profiles
* Guide groove (H × B) 20 × 10 mm (25/32'' × 13/32'') (20 × 12 mm (25/32'' × 15/32'') with plastic guide track)

Hawa Adapto concrete casting system

* The Hawa Adapto 80/100 concrete casting system is already integrated in the concrete ceiling of the building shell