

**Fitting for top-running glass doors up to 80 kg (176 lbs.), with running track flush with the**

**ceiling. Optionally with soft and self closing mechanism. Wall or ceiling mounting. Minimal installation height.**

**Product-Highlights**

**Aesthetics**

Cover caps in different design versions

**Productivity** Easy height adjustment via both suspensions on completely installed

door

**Technical guidelines** Max. Door weight

Door thickness Max. Door height Max. Door width Max. Opening width Height adjustable Soft close

Door material

Finish color of visible profiles

80 kg (176 lbs.)

8–12.7 mm (5/16'' to 1/2'')

4000 mm (13' 1 15/32'')

3000 mm (9' 10 1/8'')

2950 mm (9' 8 5/32'')

+/- 3 mm (1/8'') Yes

Glass

Aluminum anodized / aluminum stainless steel effect

**System options**

Wall mounting

Ceiling mounting

Ceiling mounting recessed Top-running

Yes

Yes Yes Yes

**Application area**

Utilization light / semi-public access

Utilization medium / semi-public access Utilization high / public access

Yes

Yes Yes

**Tests** Building hardware – Hardware for sliding doors and folding doors according to EN 1527/2013 – Duration of functionality: Class 6 (highest class = 100,000 cycles)

Hardware for furniture – Strength and durability of slide fittings for sliding doors and roll fronts according to EN 15706/2009

**Warranty** With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

**Product Design** Hawa Junior 80 GP consisting of running track (aluminum wall thickness 2.9 mm (1/8'')), running gear with friction bearing rollers, stopper or soft closing mechanism Hawa SoftMove 80, glass suspension with point fixing, bottom guide with zero clearance

Optional:

(….) Guide track

(….) Track set for fixed glazing

(….) Hawa Adapto 80 concrete casting system (….) Bottom door stopper, with centering part

**Interfaces Door leaf**- Glass processing for glass holders – Positive-fit glass fixing with point fixing

# Hawa Adapto concrete casting system

– The Hawa Adapto 80 concrete casting system is already integrated in the concrete ceiling of the building shell