

**Fitting for top-running glass doors up to 80 kg (176 lbs.), with surface mounted running track.**

**Optionally with soft and self closing mechanism. Ceiling mounting. Wall pocket solution.**

**Product-Highlights**

**Productivity** Easy clamping mounting of the glass door to the suspension without a

glass cut-out

**Aesthetics**

The integrated spring stop gently pushes open sliding doors that are

completely recessed in the wall pocket

**Technical guidelines** Max. Door weight

Door thickness Max. Door height Max. Door width Max. Opening width Height adjustable Soft close

Door material

80 kg (176 lbs.)

8–12.7 mm (5/16'' to 1/2'')

4000 mm (13' 1 15/32'')

1200 mm (3' 11 1/4'')

1470 mm (4' 9 7/8'')

+/- 3 mm (1/8'') Yes

Glass

**System options**

Ceiling mounting

Top-running

Yes

Yes

**Application area**

Utilization light / semi-public access

Utilization medium / semi-public access Utilization high / public access

Yes

Yes Yes

**Tests** Building hardware – Hardware for sliding doors and folding doors according to EN 1527 / 2013 – Duration of functionality: Class 6 (highest class = 100,000 cycles)

Hardware for furniture – Strength and durability of slide fittings for sliding doors and roll fronts according to EN 15706 / 2009

**Warranty** With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

**Product Design** Hawa Junior 80 GS Pocket consisting of running track (aluminum wall thickness 2.9 mm (1/8'')), running gear with friction bearing rollers, stopper, spring buffer or soft closing mechanism Hawa SoftMove 80, Clamping shoe with hanger bolt, bottom guide with zero clearance

Optional:

( ) Set for installable and removable running track

# Interfaces Door leaf

* No recess
* Clamped glass fixing

# Pocket construction

* Pocket construction must be taken care of by the customer

# Assembly set

* The retainer profile is installed during the creation of the pocket construction