Fitting for top-running glass doors up to 100 kg (220 lbs.), with surface mounted running track. Optionally with soft and self closing mechanism. Wall or ceiling mounting. Minimal installation height.

**Product-Highlights Comfort** Smooth, quiet sliding and gentle stopping of the door with integrated

soft and self closing system

**Productivity** Efficient installation thanks to clamping shoe connection and clip panels

**Aesthetics** Also available in black as a “Black Edition” design option for a particularly attractive appearance

**Technical guidelines** Max. Door weight 100 kg (220 lbs.)

Door thickness 8–12.7 mm (5/16'' to 1/2'')

Max. Door height 2700 mm (8' 10 5/16'')

Max. Door width 1600 mm (5' 3'')

Max. Opening width 1550 mm (5' 1 1/32'')

Height adjustable +/- 2 mm (3/32'')

Soft close Yes

Door material Glass

**System options** Wall mounting Yes

Ceiling mounting Yes

Top-running Yes

**Application area** Utilization light / semi-public access Yes

Utilization medium / semi-public access Yes

Utilization high / public access Yes

**Tests** Building hardware – Hardware for sliding doors and folding doors according to DIN EN 1527 – Duration of functionality: Class 6 (highest class = 100,000 cycles)

Hardware for furniture – Roller fittings for sliding doors according to DIN 68859

* Stop reliability
* Retention reliability

**Warranty** With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

**Product Design** Hawa Porta 100 GMD consisting of running track (aluminum), clip-on panel, running gear with ball bearing rollers, stopper with retention spring, camping shoe with suspension screw, bottom guide with zero clearance

Optional:

( ) Hawa Porta 100 soft and self closing mechanism

( ) Cover cap for assembly opening

(….) Bottom guide set for wall mounting, with roller (….) Bottom door stopper, with centering part

# Interfaces Door leaf

* Glass processing for clamping shoe
* Positive-fit glass fixing on clamping shoe