**Fitting for 2 synchronously opening wooden doors up to 60 kg (132 lbs.), with surface mounted**

**running track. Wall or ceiling mounting.**

**Product-Highlights**

**Flexibility**

Standard applications can be extended with the Synchro option

**Productivity** Easy installation of the accessory, based upon basic elements

**Aesthetics**

Also available in black as a “Black Edition” design option for a

particularly attractive appearance

**Technical guidelines** Max. Door weight

Door thickness Max. Door height Max. Door width Max. Opening width Height adjustable Soft close

Door material

Finish color of visible profiles

60 kg (132 lbs.)

30–80 mm (1 3/16'' to 3 5/32'')

2700 mm (8' 10 5/16'')

1200 mm (3' 11 1/4'')

2300 mm (7' 6 9/16'')

+1/-3 mm (+1/32''/-1/8'')

No Wood

Aluminum / aluminum anodized / aluminum black anodized

**System options**

Ceiling mounting

Top-running

Yes

Yes

**Application area**

Utilization light / semi-public access

Utilization medium / semi-public access Utilization high / public access

Yes

Yes Yes

**Tests** Building hardware – Hardware for sliding doors and folding doors according to EN 1527

* Duration of functionality: Class 6 (highest class = 100,000 cycles)

Hardware for furniture – Roller fittings for sliding doors according to DIN 68859

* Stop reliability
* Retention reliability

**Warranty** With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

**Product Design** Hawa Porta 60 H Synchro consisting of running track (aluminum), running gear with friction bearing rollers, stopper with retention spring, Kevlar rope with deflection rollers, support flange, bottom guide with roller

Optional:

(….) Disposable cover

(….) Hawa Porta 60/100 assembly set (….) Clip-on panel for running track

(….) Clip-on component, for wooden and aluminum panel

# Interfaces Door leaf

## Screw fixing of the support flange

– Guide groove (H × W) 16 × 12 mm (5/8'' × 15/32'')