

**Frame profile for fitting for top-running glass doors up to 150 kg (330 lbs.), with surface**

**mounted running track. Ceiling mounting. Fully opening.**

**Product-Highlights**

**Security**

The frame offers additional stability for tall doors

**Comfort**

The frame profile also seals and protects against drafts

**Technical guidelines** Max. Door weight

Door thickness Max. Door height Max. Door width Max. Opening width Height adjustable Soft close

Door material

Finish color of visible profiles

150 kg (330 lbs.)

10–12.7 mm (13/32'' to 1/2'')

3500 mm (11' 5 25/32'')

1500 mm (4' 11 1/16'')

12000 mm (39' 4 7/16'')

+6 / -3 mm (+1/4'' / -1/8'')

No

Alu Glass Wood Mix Aluminum anodized

**System options**

Ceiling mounting

Top-running

Yes

Yes

**Application area**

Utilization medium / semi-public access

Utilization high / public access

Yes

Yes

**Tests** Building hardware – Hardware for sliding doors and folding doors according to EN 1527 / 2013

* Duration of functionality: Class 6 (highest class = 100,000 cycles)

Hardware for furniture – Roller fittings for sliding doors according to EN 15706 : 2008 – Level 3

* Overload test
* Functional test

**Warranty** With the exception of parts subject to wear and tear, Hawa warrants the flawless functioning of the products delivered by it, as well as the durability of all parts, for a period of 2 years commencing from the transfer of risk.

**Product Design** Hawa Variotec 150 GR - additional frame profiles for Hawa Variotec 150 GV

# Interfaces Seal and wall connections

* Centering of door elements and minimal sealing using sealing profiles

# Stacking area

* Individual stacking area positioning possible

# Floor

* Processing on floor for guide track or locks